ZELIENOPLE BOROUGH PLANNING COMMISSION

 Thursday, October 28, 2021

7:00 PM

MEMBERS

Doug Hilf, Chairman

Greg Young, Vice Chair

Mark Matusiak, Secretary

Phillip Troiani

Steve Schoppe

STAFF

Thomas L. Thompson, P.E., Municipal Engineer

Jason Sarver, Code Enforcement and Zoning Officer

1. CALL TO ORDER
2. APPROVAL OF MINUTES
3. NEW BUSINESS

WBCA Harmony Pump Station Infrastructure Improvements-Sewage Facilities Planning – Component 4A

WBCA has separated the Harmony Pump Station upgrade from the Act 537 Plan in order to move it through the approval process faster. The project includes the following:

* Upgrading the existing Harmony Pump Station to increase the capacity from 3.17 MGD to 5.76 MGD.
* Upgrading 1,360 LF of the Harmony Junction interceptor
* Upgrading 7,200 LF of the Scholars Run interceptor
* Adding 1,900 LF of 12” peak flow forcemain along Division Street
* Adding 6,760 LF of gravity upgrades along Spring Street to Jefferson Street and then to Front Street.

Component 4A is the section required to be completed.

ADJOURNMENT